## Instructions
Step 1: Location Data Tab
Open the spreadsheet and go to the "Location Data" tab at the bottom.
Fill in all the required fields highlighted in RED. These fields must be submitted as they are necessary for accurate calculations and cannot be left blank.
In Column B, enter the Report Name, address, city, state, and zip code.
In Column D, enter the Test Name, Test Address, Test City, Test State, and Test Zip Code.
In Column F, enter the Technician Name and Technician Certification information for sample placement and retrieval.
The Report Email field can contain up to 2 emails separated by a semi-colon (;). For example: abc@def.com; 123@456.com.
Step 2: Test Device Tab
Click on the tab next to "Location Data Tab" labeled "Test Device."
Before entering data, ensure that you start typing in cell A2.
Fill in all the required fields highlighted in RED, as well as the other fields.
Pay attention to the exact format required for certain fields:
Date Format: Enter dates in the format mm/dd/yyyy (e.g., 06/14/2023).
Time Format: Enter times in the format hh:mm using the 24-hour notation (e.g., 14:36 or 07:23).
Building Format: Enter only the building name or number in each row.
Unit Format: Enter only the unit name or number in each row.
Floor Level: Enter the floor name or number in each row. For example, entering "First" will show as "First Floor" on the report, while entering "1" will show as "Floor 1" on the report.
Step 3: Quality Control (Duplicates and Blanks) Fields
Duplicate Field: Enter "YES" or "Y" if the sample is a QC Duplicate. The sample dates, times, and placement information must match for duplicate samples.
Blank Field: Enter "YES" or "Y" if the sample is a QC Blank. The sample dates and times are required for blanks as well.
Step 4: Indoor Temperature and Indoor Humidity
We recommend using calibrated temperature and humidity measurement devices as this information will be used in the calculation of the radon result.
Indoor Temperature: Required for charcoal canisters and LS devices.
Indoor Humidity: REQUIRED FOR LS DEVICES ONLY.
Step 5: New Jersey and Florida Testing Requirements
If you are testing in New Jersey or Florida, in addition to filling out the "Location Data" tab, you must complete the New Jersey or Florida Requirement tabs. State regulations require filling in the information in the BLUE fields.
If you are the homeowner performing the test, enter "Yes" in cell A2. For more information, visit the state radon websites for clarification.
Step 6: Submitting the Spreadsheet to the Laboratory
Double-check that all fields, especially the ones highlighted in RED, are filled.
Save the spreadsheet on your computer using a new file name. Using the project name or test address is recommended.
Email your spreadsheet to datadelivery@accustarlabs.com.
Mail in your devices to the lab.
For any questions or further instructions, please contact AccuStar Labs at 888-480-8812 or visit www.accustarlabs.com.
version 2505_1

## Location Data
ReportName | ProjectNumber | Name of Tech Placed Device
ReportAddress | TestName | CertificationNumber_Placed
ReportAddress2 | TestAddress | Name of Tech Retrieved Device
ReportCity | TestAddress2 | CertificationNumber_Retrieved
ReportState | TestCity
ReportPostalCode | TestState
ReportCountry | TestPostalCode
ReportEmail | TestCountry

## Test Device Data
DeviceNumber | DateTestStart | TimeTestStart | DateTestEnd | TimeTestEnd | Building | Unit | Floor | Room | Location | Blank | Duplicate | Temperature ( F ) | Humidity (for LS ) | Comment
Yes

## Florida Requirements (hidden)
Homeowner | Closed House on Test Start | Closed House on Test End | Name of Tech Placed Device | CertificationNumber_Placed | Name of Tech Retrieved Device | CertificationNumber_Retrieved | Building Type | Attached | Structure | Test Purpose | Cooling System in Use | Cooling System | Heating System in Use | Heating System | Age of Building | Year Built | Number of Stories | Number of Stories Occupied | Number of Buildings on Property | Number of Buildings Tested

## NJ Requirements (hidden)
Homeowner | Closed House on Test Start | Closed House on Test End | Name of Tech Placed Device | CertificationNumber_Placed | Name of Tech Retrieved Device | CertificationNumber_Retrieved | Building Type | Structure | School Code | Test Purpose

## Outdoor Weather (hidden)
Wind Present | Preceipitation Present | Wind Severe | Precipitation Severe